Series

Capella	Heat Pump Options

Options

| Product # Kit | Description | Qty |
| --- | --- | --- |
| HP6000ZB-MA1, 2 | Ductless Convectair heat pump interface |  |
| GT130 | Smart gateway that provides remote access to the HP6000ZB-MA |  |
| Insulated copper line |  |  |
| D001412050BLK | 1/4" insulated copper line, 50’ long |  |
| D003812050BLK | 3/8" insulated copper line, 50’ long |  |
| D001212050BLK | 1/2" insulated copper line, 50’ long |  |
| D005812050BLK | 5/8" insulated copper line, 50’ long |  |
| D003412050BLK | 3/4" insulated copper line, 50’ long |  |
| D007812050BLK | 7/8" insulated copper line, 50’ long |  |
| D001412164BLK | 1/4" insulated copper line, 164’ long |  |
| D003812164BLK | 3/8" insulated copper line, 164’ long |  |
| D001212164BLK | 1/2" insulated copper line, 164’ long |  |
| D005812164BLK | 5/8" insulated copper line, 164’ long |  |
| Insulated copper line sets |  |  |
| CO25121438W | 1/2" and 1/4" insulated copper line set kit, 25’ long |  |
| CO25381438W | 3/8" and 1/4" insulated copper line set kit, 25’ long |  |
| CO25581438W | 5/8" and 1/4" insulated copper line set kit, 25’ long |  |
| CO25583838W | 5/8" and 3/8" insulated copper line set kit, 25’ long |  |
| Conduit en cuivre non-isolés |  |  |
| C0308050 | 3/8" non-insulated copper line, 50’ long, sold in box of 10 units |  |
| Wall brackets |  |  |
| WBA2416 | 2 aluminum wall brackets 24" × 16" |  |
| SV-ALBR3016 | 2 aluminum wall brackets 30" × 16", sold in boxes of 6 pairs |  |
| Ground stand |  |  |
| SV-ALGS1426 | Aluminum ground stand 14 1/4" × 26" |  |
| SV-ALGS1430 | Aluminum ground stand 14 1/4" × 30" |  |
| SV-ALGS1727-31 | Aluminum ground stand 17 1/8" × 27" (2" × 3" Angle) |  |
| No-kink drain line |  |  |
| SV-NKDL58L50 | No-kink drain line 5/8", 165’ long |  |

1 Requires the use of the GT130 smart gateway.

### 2 Standard color is black.

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact at manufacturer: |  |
| Comments: |  |