Series

OAE	Thunderstorm Unit Heater

Features

Color	-	Standard: almond.

Finish	-	Standard: epoxy/polyester powder paint.

Voltage	-	240/208V, 1-phase.

Construction	-	20-gauge steel.

-	Adjustable louvers to control warm air flow.

-	High-limit temperature control with automatic reset (first level) 
and single operation thermal fuse (second level).

Fan	-	300 cfm fan (51 dBA).

-	Totally enclosed factory-lubricated motor.

Heating element	-	Nichrome element provides instant heat.

Control	-	Built-in thermostat included.

Installation	-	Wall or ceiling mounting using the supplied brackets 	which allow 360° rotation of 	the heater and prevent it from tipping over.

Warranty	-	3-year warranty against defects.

Application 	-	Garage, workshop.

Models

| Product #1 | Qty | Watts | Volts | # BTU/hr | Weight |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | lb | kg |
| OAEU2000AM-EO-TB6 |  | 2000/1500 | 240/208 | 6824/5118 | 20.0 | 9.1 |
| OAEU3000AM-EO-TB6 |  | 3000/2250 | 240/208 | 10236/7677 | 20.0 | 9.1 |
| OAEU5000AM-EO-TB6 |  | 5000/3750 | 240/208 | 17060/12795 | 20.0 | 9.1 |

1Mounting brackets included.

Standard color is almond.

### Others

| Type | Quantity | Model and description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact at Ouellet: |  |
| Comments: |  |