Series

OCP	Kickspace Fan Heater

Features

Color	-	Standard: semi-gloss black, white, almond.

-	Optional (upcharge applicable): metallic silver, bronze, metallic charcoal,

aluminum, sand.

-	Custom colors available upon request.

Finish	-	Standard: epoxy/polyester powder paint.

Voltage	-	120V, 240/208V, 1-phase.

Construction	-	20-gauge steel.

-	1000W standard. Wattage can be converted to 500W at the time of wiring 
(see installation instructions).

-	High-limit temperature control with automatic reset (first level).

-	High-limit temperature control with manual reset (second level).

Fan	-	80 cfm fan (44.5 dBA).

-	Factory-lubricated motor.

Heating element	-	Two elements of 500W (1000W in parallel).

- Durable tubular heating element with ﬁns.

Control	-	Built-in thermostat kit available.

Note: If an electronic thermostat is used, it must be compatible with forced-air heaters.

Installation	-	Do not install the heater near thermosensitive materials.

-	Trim frame included.

Warranty	-	5-year warranty against defects.

Application 	-	Kitchen, bathroom, recessed in stair risers.

Models

| Product # | Qty | Volts | Watts | Weight |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | lb | kg |
| OCPU1002 |  | 120 | 500 1000 | 13.0 | 5.9 |
| OCPU1000 |  | 240/208 | 500/375 1000/750 | 13.0 | 5.9 |

Options

| Product # Kit | Product # Factory installed* | Description | Qty |
| --- | --- | --- | --- |
| KIT-OCP-TB6 | TB6 | Single-pole bi-metal thermostat |  |
| KIT-OCP-TB261 | TB261 | Double-pole bi-metal thermostat |  |

* For factory installed options, add the option number to the product number.  See the Product Code section inside the front cover.

1 "Off" position.

Add "NL" for semi-gloss black, "BL" for white, "AM" for almond.

### Others

| Type | Quantity | Model et description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Eectrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |