Series

OHV-CC	Commercial Portable Unit Heater

Features

Color	-	Standard: red and black.

Finish	-	Standard: epoxy/polyester powder paint.

Voltage	-	240/208V, 1 phase.

Construction	-	Positive off, double-pole, single-throw thermostat.

-	Fan on/auto switch.

-	Two level finger tip - high/low heat selector switch.

-	Manual-reset over temperature protector.

-	Specially designed outlet diffuser 	prevents foreign objects from entering heater.

-	18 and 20 gauge steel.

-	Motor - totally enclosed - thermally protected.

-	Draw-through design permits greater heat transfer.

Installation	-	Versatile stand for floor or wall mount.

-	Adjustable bracket/knobs allows all angle rotation.

-	20A cordset (NEMA 6-20P) on 4kW heater.

-	30A cordset (NEMA 6-30P) on 5kW heater.

Warranty	-	1-year warranty against defects.

Application 	-	Construction job site, garage, workshop, unheated area.

Models

| Product #1 | Volts | Phase | kW | Amp. | Air Flow |  | Temperature Rise |  | Weight |  | Plug | Qty |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | fpm | cfm | °C | °F | lb | kg |  |  |
| OHVU04000ROCC-F1-HL-T5 | 240/208 | 1 | 4/3 | 16.7/14.4 | 800 | 310 | 23 | 41 | 42 | 19 | NEMA 6-20P |  |
| OHVU05000ROCC-F1-HL-T5 | 240/208 | 1 | 5/3.75 | 20.8/18 | 800 | 310 | 28 | 51 | 42 | 19 | NEMA 6-30P |  |

Standard color is red and black.

1 Units come standard with hi-lo heat setting, fan only switch, integral thermostat and combination wall/ceiling/floor mounting bracket.

Others

| Type | Quantity | Model et description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date : |  |
| Contact in Ouellet: |  |
| Comments: |  |