- Series

ORA-J	Jet Drive-Through Air Curtain

- Features

Color	-	Standard: white.

- Custom colors available upon request (RAL Chart).

Voltage	-	208V, 60Hz.

Construction	-	Steel casing with resistant plastic end caps.

-	Quick access to the internal components thanks to the front panel which facilitate maintenance and connection.

-	High-limit temperature control with automatic reset.

Fan	-	Tangential fans.

Heating element	-	Element provides instant heat.

Control	-	Fan switch On or Off.

-	Heating switch low.

-	Heating switch high.

Installation	-	Can be wall or celling mounted with the provided mounting brackets.

Warranty	-	1-year warranty against defects.

Application	-	Drive-through windows.

- Models

| Product # | Qty | Volts (1ph) | kW Lo/Hi | Amp | Cfm | dB(A) at 3 m | Length |  | Weight |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | in. | mm | lb | kg |
| JET3HO |  | 208 | 1.13/2.25 | 12 | 120 | 46.5 | 23 5/8 | 600 | 8.8 | 4.5 |
| JET6 |  | 208 | 2.46/4.91 | 25 | 220 | 56.0 | 31 1/2 | 800 | 11 | 5.5 |

### Others

| Type | Quantity | Model et description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

- Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| ELectrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |