Series

OSM-AT	AirTempest Hand Dryer

Features

Color	-	Standard: white, stainless steel.

Finish	-	Standard: epoxy paint.

- Optional: stainless steel.

Voltage	-	Automatically adjusts itself to all power conditions, from 120V to 240V.

Construction	-	Epoxy painted steel, stainless steel.

Fan	-	Thermally-protected universal type, 1/8 HP, 4800 RPM.

Sound level	- 67dBa without hands.

Heating element	-	Nichrome wire construction, 1200 watts, and auto-reset thermal-protector so power                                         
is disconnected if air is not ﬂowing.

Control	-	Automatic touch-free infrared sensor.

Installation	-	Surface-mounted with security screws to prevent vandalism (tool supplied).

Warranty	-	5-year warranty against defects.

Model

| Product # | Color | Qty | Volts | Watts | Weight |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | lb | kg |
| OAM90BL | White |  | 120 to 240 | 400-1400 (120V) 350-1250 (240 V) | 9.4 | 4.2 |
| OAM90SS | Stainless steel |  | 120 to 240 |  | 9.4 | 4.2 |

- Standard color is white.

### Others

| Type | Quantity | Model et description Complementary information | Volts | Phase | Watts | Length mm/in. | Information Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in manufacturer: |  |
| Comments: |  |