Series

OSM-VD	VERDEdriTM Slim Profil High Velocity Hand Dryer

Features

Color	-	Standard: white.

-	Optional: black, brushed stainless steel.

Voltage	-	Universal voltage 110 to 240V, 1-phase.

Construction	-	Die cast aluminum housing.

-	Optional Hepa filter.

Sound level	-	87 dBA with hands high speed.

-	70 dBA with hands low speed.

Heating element	-	No heating element.

Control	-	Adjustable two speed controls to customize drying time, 
sound level and energy savings.

Installation	-	ADA compliant surface-mounted.

Warranty	-	5-year warranty against defects.

Models

| Product # | Qty | Color | Watts | Volts | Weight |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | lb | kg |
| Q-974A |  | White | 950 | 110 to 240 | 9.8 | 4.4 |
| Q-162A |  | Black | 950 | 110 to 240 | 9.8 | 4.4 |
| Q-973A |  | Stainless steel | 950 | 110 to 240 | 11.3 | 5.1 |

Option

| Product # Kit | Qty | Description |
| --- | --- | --- |
| 93-10292 |  | Hepa filter |

### Others

| Type | Quantity | Model et description Complementary information | Volts | Phase | Watts | Length mm/in. | Information Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |