Series

OSM-VD	VERDEdriTM Slim Profile High Velocity Hand Dryer

Features

Color	-	Standard: white.

-	Optional: black, brushed stainless steel.

Voltage	-	Universal voltage 110 to 277V, 1-phase.

Construction	-	Die cast aluminum housing.

-	HEPA filter eliminates 99.97% of particles 0.3µm or larger.

-	Antimicrobial technology protects the treated surfaces on
the dryer by inhibiting the growth of bacteria, mold and
fungus that can cause stains, odors or deterioration

- -	IP24 rating — protection against harmful water ingress.

Sound level	-	69 dBA without hands in airstream.

Heating element	-	Nichochrome wire construction, 475 watts, with auto-reset thermal protector so         power is disconnected if air is not flowing.

Control	-	3 speed selector switch.

- Automatic touch-free infrared activation with 45 second vandal-resistant 
lock out feature.

- 12 second drying time (adjustable).

Installation	-	ADA compliant surface-mounted.

- Cover attached with tamper-resistant screws; security wrench included.

Warranty	-	10-year warranty against defects.

Models

| Product # | Qty | Color | Watts | Volts | Weight |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | lb | kg |
| Q-974A2 |  | White | 950 to 1150 | 110 to 277 | 8.3 | 3.7 |
| Q-162A2 |  | Black | 950 to 1150 | 110 to 277 | 8.3 | 3.7 |
| Q-973A2 |  | Stainless steel | 950 to 1150 | 110 to 277 | 9.9 | 4.4 |

### Others

| Type | Quantity | Model et description Complementary information | Volts | Phase | Watts | Length mm/in. | Information Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |