Series

OTP	Heat Pump Options

Options

| Product # Kit | Description | Qté |
| --- | --- | --- |
| OTP-XK76 | Programmable wired wall controller |  |
| HP6000ZB-GE1,2 | Ductless heat pump smart interface, OTP-C, OTP-E, OTP-O series |  |
| GT1301 | Smart gateway that provides remote access to the HP6000ZB-GE |  |
| Insulated copper line |
| D001412050BLK | 1/4" insulated copper line, 50’ long |  |
| D003812050BLK | 3/8" insulated copper line, 50’ long |  |
| D001212050BLK | 1/2" insulated copper line, 50’ long |  |
| D005812050BLK | 5/8" insulated copper line, 50’ long |  |
| D003412050BLK | 3/4" insulated copper line, 50’ long |  |
| D007812050BLK | 7/8" insulated copper line, 50’ long |  |
| D001412164BLK | 1/4" insulated copper line, 164’ long |  |
| D003812164BLK | 3/8" insulated copper line, 164’ long |  |
| D001212164BLK | 1/2" insulated copper line, 164’ long |  |
| D005812164BLK | 5/8" insulated copper line, 164’ long |  |
| Insulated copper line sets |
| CO25121438W | 1/2" and 1/4" insulated copper line set kit, 25’ long |  |
| CO25381438W | 3/8" and 1/4" insulated copper line set kit, 25’ long |  |
| CO25581438W | 5/8" and 1/4" insulated copper line set kit, 25’ long |  |
| CO25583838W | 5/8" and 3/8" insulated copper line set kit, 25’ long |  |
| Non-insulated copper line |
| C0308050 | 3/8" non-insulated copper line, 50’ long, sold in box of 10 units |  |
| Wall bracket |
| WBA2416 | 2 aluminum wall brackets 24" × 16" |  |
| SV-ALBR3016 | 2 aluminum wall brackets 30" × 16", sold in boxes of 6 pairs |  |
| Ground stand |
| SV-ALGS1426 | Aluminum ground stand 14 1/4" × 26" |  |
| SV-ALGS1430 | Aluminum ground stand 14 1/4" × 30" |  |
| SV-ALGS1727-33 | Aluminum ground stand 17 1/8" × 27" (2" × 3" Angle) |  |
| No-kink drain line |
| SV-NKDL58L50 | No-kink drain line 5/8", 165’ long |  |

1 Standard color is black.

2 Requires the use of the GT130 smart gateway.

3 Floor support for central heat pump system.

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Electrical Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact at manufacturer: |  |
| Comments: |