Series

OVE	European-Style Bathroom Fan Heater

Features

Color	-	Standard: white, almond.

- Optional (upcharge applicable): metallic silver, bronze, metallic charcoal,

aluminum, semi-gloss black, sand.

-	Custom color available upon request.

Finish	-	Standard: epoxy/polyester powder paint.

-	Optional: stainless steel (grilles and back of the heater are painted black).

Voltage	-	120V, 240/208V, 1-phase.

Construction	-	20-gauge steel or 22-gauge stainless steel.

-	Outlet-grille efficiently distributes warm air throughout the heated area.

-	Bar grilles prevent insertion of foreign objects; 
smooth-finish paint is washable and anti-yellowing.

-	High-limit temperature control with automatic reset.

Fan	-	Whisper-quiet squirrel-cage fan.

-	Factory-lubricated motor.

Heating element	-	Nickel-chromium alloy stitched wire protected by mica insulators.

-	Heating element provides instant heat.

Control	-	Bulb thermostat (-T and -TM models).

-	Mechanical timer, 0-60 minutes (-TM model).

Note: If an electronic wall-mounted thermostat is used, it must be compatible with forced-air heaters.

Installation	-	12 in. (306 mm) minimum clearance to ﬂoor.

-	May be recessed or surface-mounted without adaptor in 2 in. X 3 in. stud partitions.

-	Holes for fastening and convenient knock-outs allow for easy installation 
and connection (mounting screws included).

Warranty	-	2-year warranty against defects.
-	5-year warranty on the heating element.

Application	-	Bathroom, kitchen, family room, entrance way.

Models

| # Product | Qty | Volts | Watts | Weight |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | lb | kg |
| # OVEU15021 |  | 120 | 1500 | 14.0 | 6.4 |
| OVEU1502-T |  | 120 | 1500 | 14.0 | 6.4 |
| OVEU1502-TM |  | 120 | 1500 | 14.0 | 6.4 |
| OVEU15001 |  | 240/208 | 1500/1125 | 14.0 | 6.4 |
| OVEU1500-T |  | 240/208 | 1500/1125 | 14.0 | 6.4 |
| OVEU1500-TM |  | 240/208 | 1500/1125 | 14.0 | 6.4 |

1Requires non pulsing wall-mounted thermostat. Please refer to the Wall Thermostats Reference Chart at the end of the catalog.

Add "BL" for white, "AM" for almond, "SS" for stainless steel.

For almond models with -T or -TM the knobs are black.

For stainless steel models the grilles and the back of the heater are painted black.

### Others

| Type | Quantity | Model et description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Eectrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |