Series

OVOS	Stylish Wall Fan Heater

Features

Color	-	Standard: white.

Finish	-	Standard: epoxy/polyester powder paint.

Voltage	-	120V, 208V, 240/208V, 1-phase.

Construction	-	22-gauge steel cabinet, 20-gauge steel grille.

-	High-limit temperature control with manual reset.

- 	Additional one-time thermal fuse.

-	Highly secure façade.

Fan	-	Quiet fan.

Heating element	-	Nickel-chromium heating element provides instant heat.

Control	-	Built-in electronic thermostat (-TH models).

- 	Wall thermostat (not included, the use of an electronic thermostat is strongly recommended).

Note: If an electronic wall-mounted thermostat is used, it must be compatible with forced-air heaters.

Installation	-	6 in. (150 mm) minimum clearance to ﬂoor or any adjacent surfaces.

-	May be recessed or surface-mounted with optional surface mounting box.

- Quick and easy installation easily retrofits most popular models.

- 	Wattage can be selected onsite for models without control only.

Warranty	-	5-year warranty, (3-year on electronic components).

Application	-	Kitchen, family room, bathroom (model with timer and thermostat), entrance way, office.

Models

| Product # Without thermostat2 | Qty | Watts1 | BTU/hr | Product # Built-in electronic thermostat | Qty | Watts | Volts | BTU/hr | Weight |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | lb | kg |
| # OVOSU1002BL |  | 1000 or 500 | 3413 or 1706 | OVOSU1002BL-TH |  | 1000 | 120 | 3413 | 7.2 | 3.3 |
| # OVOSU1502BL |  | 1500 or 750 | 5119 or 2560 | OVOSU1502BL-TH |  | 1500 | 120 | 5119 | 7.2 | 3.3 |
| # OVOSU1008BL |  | 1000 or 500 | 3413 or 1706 | OVOSU1008BL-TH |  | 1000 | 208 | 3413 | 7.2 | 3.3 |
| OVOSU1508BL |  | 1500 or 750 | 5119 or 2560 | OVOSU1508BL-TH |  | 1500 | 208 | 5119 | 7.2 | 3.3 |
| OVOSU1000BL |  | 1000/750 or 500/375 | 3413/2560 or 1706/1280 | OVOSU1000BL-TH |  | 1000/750 | 240/208 | 3413/2560 | 7.2 | 3.3 |
| OVOSU1500BL |  | 1500/1125 or 750/560 | 5119/3839 or 2560/1911 | OVOSU1500BL-TH |  | 1500/1125 | 240/208 | 5119/ 3839 | 7.2 | 3.3 |

Standard color is white.

Add -SBE after BL for unit without back box. (Available for United States market only.)

1 Wattage can be selected onsite for models without control only.

2Requires non pulsing wall-mounted thermostat. Please refer to the Wall Thermostats Reference Chart at the end of the catalog.

- Options

| Product # Kit | Description | Qty |
| --- | --- | --- |
| KIT-OVO-BB6 | Back box (6 pack) |  |
| KIT-OVO-BSBL | Surface mounting box |  |

### Others

| Type | Quantity | Model et description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Eectrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |