Series

XB	Explosion-Proof Heater

Type 3 unit with optional thermostat.

Features

Voltage	-	120V, 208V, 240V, 480V, 600V, 1-phase.

Construction	-	Unique design.

-	Efficient aluminum convector.

-	Standard protective grille.

-	Low temperature convection.

-	Sealed junction box.

Heating element	-	Tubular heating element inserted in an aluminum heat sink.

Watt density	-	Varies according to temperature code.

Control	-	Built-in thermostat available.

Installation	-	Built-in wall support.

Warranty	-	1-year warranty against defects.

Applications 	-	Refinery, chemical storage, mining industry.

Maximum room temperature: 25 °C (77 °F).

Consult the Electrical Code in your area before installing this unit.

Models

| Product # | Qty | Volts | Watts | Temperature Code2 | Type | L |  | M |  | Weight |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | in. | mm | in. | mm | lb | kg |
| Class I, Division 1, Groups A, B, C and D |  |  |  |  |  |  |  |  |  |  |  |
| XB1-1047T2D11 |  | 120 | 475 | T2D | 1 | 10 | 254 | 7 5/16 | 184 | 10.0 | 4.5 |
| XB1-4100T2D11 |  | 120 | 1000 | T2D | 1 | 23 7/16 | 594 | 7 5/16 | 184 | 20.0 | 9.1 |
| XB2-3150T2D11 |  | 120 | 1500 | T2D | 2 | 16 3/4 | 424 | 16 1/8 | 410 | 30.0 | 13.6 |
| XB1-4100T2D21 |  | 208 | 1000 | T2D | 1 | 23 7/16 | 594 | 7 5/16 | 184 | 20.0 | 9.1 |
| XB2-3150T2D21 |  | 2081 | 1500 | T2D | 2 | 16 3/4 | 424 | 16 1/8 | 410 | 30.0 | 13.6 |
| XB2-4200T2D21 |  | 2081 | 2000 | T2D | 2 | 23 7/16 | 594 | 16 1/8 | 410 | 40.0 | 18.1 |
| XB3-4300T2D21 |  | 2081 | 3000 | T2D | 3 | 23 7/16 | 594 | 25 | 635 | 60.0 | 27.2 |
| XB4-6450T2D21 |  | 2081 | 4500 | T2D | 4 | 30 1/8 | 765 | 33 15/16 | 860 | 100.0 | 45.4 |
| XB1-4100T2D31 |  | 240 | 1000 | T2D | 1 | 23 7/16 | 594 | 7 5/16 | 184 | 20.0 | 9.1 |
| XB2-3150T2D31 |  | 2401 | 1500 | T2D | 2 | 16 3/4 | 424 | 16 1/8 | 410 | 30.0 | 13.6 |
| XB2-4200T2D31 |  | 2401 | 2000 | T2D | 2 | 23 7/16 | 594 | 16 1/8 | 410 | 40.0 | 18.1 |
| XB3-4300T2D31 |  | 2401 | 3000 | T2D | 3 | 23 7/16 | 594 | 25 | 635 | 60.0 | 27.2 |
| XB4-6450T2D31 |  | 2401 | 4500 | T2D | 4 | 30 1/8 | 765 | 33 15/16 | 860 | 100.0 | 45.4 |
| XB1-4100T2D71 |  | 480 | 1000 | T2D | 1 | 17 3/4 | 451 | 7 5/16 | 184 | 20.0 | 9.1 |
| XB2-4200T2D71 |  | 4801 | 2000 | T2D | 2 | 17 3/4 | 451 | 16 1/8 | 410 | 40.0 | 18.1 |
| XB3-4300T2D71 |  | 4801 | 3000 | T2D | 3 | 17 3/4 | 451 | 25 | 635 | 60.0 | 27.2 |
| XB4-6450T2D71 |  | 4801 | 4500 | T2D | 4 | 30 1/8 | 765 | 33 15/16 | 860 | 100.0 | 45.4 |
| XB1-4100T2D81 |  | 600 | 1000 | T2D | 1 | 17 3/4 | 451 | 7 5/16 | 184 | 20.0 | 9.1 |
| XB2-4200T2D81 |  | 6001 | 2000 | T2D | 2 | 17 3/4 | 451 | 16 1/8 | 410 | 40.0 | 18.1 |
| XB3-4300T2D81 |  | 6001 | 3000 | T2D | 3 | 17 3/4 | 451 | 25 | 635 | 60.0 | 27.2 |
| XB4-6450T2D81 |  | 6001 | 4500 | T2D | 4 | 30 1/8 | 765 | 33 15/16 | 860 | 100.0 | 45.4 |
| Class I, Divisions 1 and 2, Groups A, B, C and D |  |  |  |  |  |  |  |  |  |  |  |
| ## Class II, Divisions 1 and 2, Groups E, F and G — Class III, Division 1 |  |  |  |  |  |  |  |  |  |  |  |
| XB3-6225T3B11 |  | 120 | 2250 | T3B | 3 | 30 1/8 | 765 | 25 | 635 | 75.0 | 34.0 |
| XB3-6225T3B21 |  | 2081 | 2250 | T3B | 3 | 30 1/8 | 765 | 25 | 635 | 75.0 | 34.0 |
| XB3-6225T3B31 |  | 2401 | 2250 | T3B | 3 | 30 1/8 | 765 | 25 | 635 | 75.0 | 34.0 |
| XB3-6225T3B71 |  | 4801 | 2250 | T3B | 3 | 30 1/8 | 765 | 25 | 635 | 75.0 | 34.0 |
| XB3-6225T3B81 |  | 6001 | 2250 | T3B | 3 | 30 1/8 | 765 | 25 | 635 | 75.0 | 34.0 |

Options

| Product # Kit | Product # Factory installed* | Description | Qty |
| --- | --- | --- | --- |
| - | T | Single-pole thermostat for single phase units only |  |
| - | T2 | Double-pole thermostat |  |
| XB-TM | - | Explosion-proof wall thermostat, range -18 °C to 40 °C (0 °F to 100 °F): 15A at 600V, 25A at 277V |  |
| XB-TM2 | - | Double-pole explosion-proof wall thermostat, range -18 °C to 40 °C (0 °F to 100 °F): 15A at 600V, 25A at 277 |  |

* For factory installed options, add the option number to the product number. See the Product Code section inside the front cover.

1 3-phase models available upon request. If built-in thermostat is required, use the T2 or the XB-TM2 with 3-phase units.

2 Temperature code: T2D = 215 °C (419 °F), T3B = 165 °C (329 °F).

For any other ratings and risk areas, contact our customer service.

### Others

| Type | Quantity | Model et description Complementary informations | Volts | Phase | Watts | Length mm/in. | Informations Color/installation |
| --- | --- | --- | --- | --- | --- | --- | --- |

Specifications may change without prior notice

| Project: | Approval Information |
| --- | --- |
| Consultant Engineer: |  |
| Eectrician Contractor: |  |
| Distributor: |  |
| Date: |  |
| Contact in Ouellet: |  |
| Comments: |  |